Electrical Fire Safety Meeting Quiz				Date: ________________________

Name:  _________________________			Company:  ____________________

Multiple Choice Questions

- What type of fire extinguisher should be used on energized electrical equipment?

a. Class A

b. Class B

c. Class C

d. Class D

- Which warning sign indicates electrical arcing or corona discharge?

- Buzzing sounds

- Warm outlets

- Ozone or sharp, acrid odors

- Flickering lights

- Which of the following should never be done during an electrical fire emergency?

a. Call 911

b. Use a Class C fire extinguisher

c. Use elevators to evacuate

d. Disconnect power at the circuit breaker

True / False Questions

4. True or False: Water should never be used to extinguish an electrical fire on energized equipment.

5. True or False: It is safe to continue using electrical equipment that shows minor scorch marks around outlets.

6. True or False: Circuit breakers that frequently trip indicate normal electrical system operation.